## Module Connection (old)
TITLE |  |  | MMR / Steel Module / Main Connection Details / ALT.1 | [10 empty] | SHEET NO. |  | OF
Connection Plate
|  | 4 Edge Connection |  |  |  | 3 Edge Connection |  |  |  | 2 Edge Connection |  | 2 Middle Connection | Middle Connection | KEY Plan
|  | Front View |  |  |  | Side View
4 Edge Connection / 3D Modeling
|  |  |  | Front View |  | Front 3D View |  |  | Front-3D View |  | Side View |  | Side 3D View |  | Side 3D View
2 Middle Connection / 3D Modeling
[5 empty] | Front View |  | 3D View
Column Welding Details
Inner Rectangular Tube (H=50 mm)
4 Edge Connection
3 Edge Connection
2 Edge Connection
2 Middle Connection
Middle Connection
Column
Column
End Tab
End Tab
Groove Welding
2 Middle Connection으로 적용 가능
Note on C2: PROJECT ETC.
Note on BM2: SHEET NO.
Note on BR2: SHEET NO.

## Module Connection
TITLE |  |  | MMR / Steel Module / Main Connection Details / ALT.2 | [10 empty] | SHEET NO. |  | OF
Connection Plate
|  | 4 Edge Connection |  |  |  | 3 Edge Connection |  |  | 2 Edge Connection | 2 Middle Connection |  | Middle Connection |  | KEY Plan
|  | Front View |  |  |  | Side View
4 Edge Connection / 3D Modeling
|  |  | Front View |  | Front 3D View |  | Front 3D View |  | Side View |  | Side 3D View |  | Side 3D View |  | Side View
2 Middle Connection / 3D Modeling
|  |  |  | Front View |  |  |  | 3D View
4 Edge Connection
3 Edge Connection
2 Edge Connection
2 Middle Connection
Middle Connection
2 Middle Connection으로 적용 가능
Note on C2: PROJECT ETC.
Note on BM2: SHEET NO.
Note on BR2: SHEET NO.

## Brace Connection
TITLE |  | MMR / Steel Module / Roof Brace Connection |  | SHEET NO. |  | OF
Roof Brace (HB1) Connection
ROD BAR(D12) with TURN BUCKLE for LIFTING (temporary) Connection / Wall Cladding Fixing
|  |  | LIFTING |  | CLADDING
Note on C2: PROJECT ETC.
Note on BM2: SHEET NO.
Note on BR2: SHEET NO.

## Checkered Plate Layout
TITLE |  |  |  | SHEET NO. | OF
Checkered Plate 6t layout / Edge Location
Checkered Plate 6t layout / Adjacent Location
Checkered Plate 6t Connection to it's supporting beam
Typical : Tag Welding
|  | Beside Columns for Module Bolt Connection : Open Cover - Countersunk Bolt | Related Homepages
https://www.structfast.com/floor-fast
https://www.uccsteelworks.com/lindapter-product/type-ff-floorfast
https://www.lindapter.com/us/product/type-ff-floorfast
Note on C2: PROJECT ETC.
Note on BM2: SHEET NO.
Note on BR2: SHEET NO.
L-80x80x6@600
w/2-M12
Checkered Plate
(600x2700x6)
Checkered Plate for Bolt Tighting
(600x600x6)
Checkered Plate
(600x1500x6)
Checkered Plate for Bolt Tighting
(600x600x6)
Checkered Plate for Bolt Tighting
(600x600x6)
Checkered Plate for Bolt Tighting
(600x600x6)
Checkered Plate
(600x1500x6)
Checkered Plate
(600x2700x6)
Checkered Plate for Bolt Tighting
(600x600x6)
Checkered Plate for Bolt Tighting
(600x600x6)
Checkered Plate
(600x2700x6)
Checkered Plate
(600x1500x6)
Checkered Plate
(600x2700x6)
Checkered Plate
(600x2700x6)
Checkered Plate
(600x1500x6)
Checkered Plate
(600x2700x6)
B1: W 150x13 @600
(H-148x100x4.32x4.95@600)
Checkered Plate 6t Live Load 4.8 kPa
처짐제한: L/300
Checkered Plate
(2800x300x6)
Checkered Plate
(150x2800x6)
Checkered Plate
(150x2800x6)
Checkered Plate
(2800x600x6)
Angle to avoid differential deflection (L-40x40x4)
Angle to avoid differential deflection (L-40x40x4)
5@600=3,000
5@600=3,000
5@600=3,000
5@600=3,000
5@600=3,000

## Panel 위치 Study
TITLE | [13 empty] | SHEET NO. | OF
Steel Module / Panel
1. Wall Panel / Case Study
|  |  | 1.1 Steel Module / Outer Layer |  |  |  | 1.2 Steel Module / Partial Internal Layer (50mm Interface) |  |  | 1.3 Steel Module / Partial Internal Layer (100mm Interface) |  | 1.4 Steel Module / Internal Layer
|  | Merit |  | Workability |  | Merit |  | Workability | Merit | Workability | Merit | Workability
|  |  |  | Waterproof |  |  |  | Waterproof |  |  |  | Transfortability
|  |  |  | Insulation |  |  |  | Insulation
|  |  |  | Aestetic |  |  |  | Aestetic
|  | Demerit |  | Field Works |  | Demerit |  | Recess Details | Demerit | Recess Details | Demerit | Recess Details
[8 empty] | Field Works |  | Waterproof gap |  | Waterproof gap
[10 empty] | Insulation gap |  | Insulation gap
[10 empty] | Lateral Joint |  | Lateral Joint
2. Bottom Panel / Case Study
|  |  | 2.1 Steel Module / Floor beam (B1) / Bottom | [9 empty] | 3.1 Removable Wall / Concept
|  |  | Merit |  | Bottom Panel at Factory |  |  |  | Merit | Bottom Panel at Factory
[5 empty] | Good Waterproof |  |  |  |  | Good Waterproof
[5 empty] | Good Insulation |  |  |  |  | Good Insulation
[5 empty] | Good Aestetic |  |  |  |  | Good Aestetic
|  |  | Demerit |  | Field Joint Installation |  |  |  | Demerit | Field Joint Installation
Special Order type Panel
Special Order type Panel
Partial Thiner Panel
Partial Thiner Panel
Sealant (remove before wall removal)
Installed at Factory
Installed at Factory
Installed at Site
Installed at Site
Note on C2: PROJECT ETC.
Note on BM2: SHEET NO.
Note on BR2: SHEET NO.

## Removable Roof Cover Study
TITLE | [15 empty] | SHEET NO. | OF
Removable Roof Cover Study
1. Turbine Hall / Roof / Open Area - Red Line (ME) & Blue Line (AR) -> Blue Line (16.1m x 11.0m)
| 2. Use 7 Pieces of Divided Roof Cover (2.3m x 11.0m, 3-Top Cover + 4-Bottom Cover) | [7 empty] | 3. Roof / Disassembly Process
| 3. Roof / Disassembly Process | [9 empty] | 4. Mobile Crane / O&M at inside of Turbine Hall
5. Top Cover Frame
|  |  | 1.1 Steel Module / 외부 부착 |  |  |  | 1.2 Steel Module / 내-외부 부착 (50mm 겹침) |  |  |  |  | 1.3 Steel Module / 내-외부 부착 (100mm 겹침) |  |  | 1.4 Steel Module / 내부 부착
|  | 장점 |  | 작업 수월 |  | 장점 |  | 작업 수월 |  | 장점 |  | 작업 수월 |  | 장점 | 모듈에 미리 설치
|  |  |  | 방수 수월 |  |  |  | 방수 수월 | [6 empty] | 운송 가능
|  |  |  | 단열 확실함 |  |  |  | 단열 확실함
|  |  |  | 미관 우수 |  |  |  | 미관 우수
|  | 단점 |  | 현장 작업량 가장 많음 |  | 단점 |  | recess 구간 별도 제작 |  | 단점 |  | recess 구간 별도 제작 |  | 단점 | recess 구간 별도 제작
[12 empty] | 방수 상세 필요 |  |  | 누수 위험
[12 empty] | 단열 부족 구간 발생 |  |  | 단열 부족 구간 발생
[12 empty] | 수평 줄눈 발생 |  |  | 수평 줄눈 발생
운송중 파손 가능
2. Bottom Panel / Case Study
2.1 Steel Module / Floor beam (B1) 하부 부착
|  |  | 장점 |  | 판넬 대부분 공장 설치 | [6 empty] | 장점
방수 수월
단열 확실함
미관 우수
|  |  | 단점 |  | 모듈 접합부는 현장 설치 | [6 empty] | 단점 | 모듈 현장 설치시 설치 필요
Special Order type Panel
Special Order type Panel
Partial Thiner Panel
Partial Thiner Panel
Note on C2: PROJECT ETC.
Note on BM2: SHEET NO.
Note on BR2: SHEET NO.

## T.G Foundation
TITLE |  |  | SHEET NO. | OF
| AP Building / Turbine Hall / Turbine Generator Foundation |  |  |  | 2022.05.12
PC block connection / concept
Note on C2: PROJECT ETC.
Note on BM2: SHEET NO.
Note on BR2: SHEET NO.

## Turbine Hall Foundation
TITLE |  |  |  | SHEET NO. | OF
| AP Building / Turbine Hall / PC Slab Concept |  |  |  |  | 2022.05.12
VE item during Workshop
Application Condition: Soil Allowable Bearing Capcacity shall be greater than 50 kN/m2.
Note on C2: PROJECT ETC.
Note on BM2: SHEET NO.
Note on BR2: SHEET NO.

## Turbine Hall Steel FS (221107)
TITLE | [8 empty] | SHEET NO. | OF
| AP Building / Turbine Hall | [9 empty] | 2022.06.09
|  | Steel Structure Frame Sketch / (pipe rack 물량 (3 ton) 추가 - IOM-PI-0017) | [8 empty] | 2022.06.14
1. 1st Floor (EL +153.90 m)
Member List
|  |  |  | TC1 | W 250x44.8 (H-267x148x7.62x13)
|  |  |  | TC2 | W 250x67 (H-257x204x8.89x15.7)
|  |  |  | TC3 | W 200x59 (H-210x205x9.14x14.2)
|  |  |  | VBR1 | HSS 101.6x101.6x6.4
2. 2nd Floor (EL +156.90 m)
Member List
|  |  |  | WG1 | W 150x18 (H-153x102x5.84x7.11)
|  |  |  | WG2 | W 200x59 (H-210x205x9.14x14.2)
|  |  |  | VBR1 | HSS 101.6x101.6x6.4
3. 3rd Floor (EL +159.90 m)
Member List
|  |  |  | WG1 | W 150x18 (H-153x102x5.84x7.11)
|  |  |  | WG2 | W 200x59 (H-210x205x9.14x14.2)
|  |  |  | VBR1 | HSS 101.6x101.6x6.4
|  |  |  | TC4 | W 150x18 (H-153x102x5.84x7.11)
4. Roof Plan
Member List
[7 empty] | RG1 | W 150x18 (H-153x102x5.84x7.11)
[7 empty] | RG2 | W 250x 38.5 (H-262x147x6.6x11.2)
[7 empty] | RG3 | W 310x67 (H-307x204x8.51x14.6)
[7 empty] | RB1 | W 150x18 (H-153x102x5.84x7.11)
[7 empty] | RB2 | W 250x38.5 (H-262x147x6.6x11.2)
[7 empty] | RB3 | W 250x44.8 (H-267c148c7.62c13)
[7 empty] | RB4 | C 310x38 (C-305x77.5x9.83x12.7)
[7 empty] | BK1 | W 250x38.5 (H-262x147x6.6x11.2) (L=200 mm)
[7 empty] | HBR1 | HSS 101.6x76.2x6.4
[7 empty] | HBR2 | HSS 50.6x50.6x4.8
5. Sections
6. Elevations
|  |  | Grid B Elevation |  |  | Grid 4 Elevation
|  |  | Grid C Elevation |  |  | Grid 6 Elevation
4
5
6
15,000
3,000
3,000
3,000
3,000
3,000
3,000
3,000
6,000
B
C
3,000
3,000
3,000
3,000
3,000
15,000
4
5
6
15,000
3,000
3,000
3,000
3,000
3,000
3,000
3,000
6,000
B
C
3,000
3,000
3,000
3,000
3,000
15,000
4
5
6
15,000
3,000
3,000
3,000
3,000
3,000
3,000
3,000
6,000
B
C
3,000
3,000
3,000
3,000
3,000
15,000
4
5
6
15,000
3,000
3,000
3,000
3,000
3,000
3,000
3,000
6,000
B
C
3,000
3,000
3,000
3,000
3,000
15,000
Removable Roof Cover A type
Removable Roof Cover B type
Roof
CT-150x150
Lifting Lug
(PL-100x100x12)
C-300x150
4
5
6
15,000
3,000
3,000
3,000
3,000
3,000
3,000
3,000
6,000
C
B
3,000
3,000
3,000
3,000
3,000
15,000
EL+153.90
EL+156.90
EL+159.90
EL+162.90
4
5
6
15,000
3,000
3,000
3,000
3,000
3,000
3,000
3,000
6,000
B
C
3,000
3,000
3,000
3,000
3,000
15,000
EL+153.90
EL+156.90
EL+159.90
EL+162.90
4
5
6
15,000
3,000
3,000
3,000
3,000
3,000
3,000
3,000
6,000
C
B
3,000
3,000
3,000
3,000
3,000
15,000
EL+153.90
EL+156.90
EL+159.90
EL+162.90
EL+161.90
EL+160.65
EL+161.90
1,500
2,000
2,000
Removable Roof Opening (16.0 x 11.0m)
Roof Cover Type A
(2.25 x 11.0m)
4
5
6
15,000
3,000
3,000
3,000
3,000
3,000
3,000
3,000
6,000
C
B
3,000
3,000
3,000
3,000
3,000
15,000
EL+153.90
EL+156.90
EL+159.90
EL+162.90
TC1
TC2
TC1
TC1
TC1
TC1
TC1
TC1
TC1
TC1
TC1
TC1
TC1
TC3
TC3
TC3
TC3
TC1
TC1
VBR1
VBR1
VBR1
VBR1
VBR1
VBR1
VBR1
VBR1
WG1
VBR1
WG1
WG1
WG1
WG1
WG1
WG2
WG2
WG2
WG2
VBR1
WG1
VBR1
VBR1
WG1
WG1
WG1
WG1
WG1
WG1
WG1
VBR1
VBR1
WG1
VBR1
WG1
WG1
WG1
WG1
WG1
WG2
WG2
WG2
WG2
VBR1
WG1
VBR1
VBR1
WG1
WG1
WG1
WG1
WG1
WG1
WG1
WG2
TC4
RG2
RG2
Roof Cover
A type
Roof Cover
A type
Roof Cover
A type
Roof Cover
A type
Roof Cover
B type
Roof Cover
B type
Roof Cover
B type
Roof Cover Type B
(2.25 x 11.0m)
Roof Cover Type A
(2.25 x 11.0m)
RG1
RG1
RG1
RG1
RG1
RB1
RB2
RB1
RB1
RB1
RB1
RG1
RG3
RB2
RB2
RB2
RB2
RG2
RG2
RB2
RB2
RB2
RB2
RB2
RB2
RB2
RB2
RB2
RG1
RG1
RG1
RG1
RG1
RG1
RG1
RB3
RB3
RB3
RB3
RB1
RB1
RB1
RB1
RB1
RB4
RB4
RB4
RB4
RB1
RB1
RB1
RB1
RB1
HBR1 (typ.)
HBR2 (typ.)
RB1
RB1
RB1
RB1
C-300x150
Anchor Thread
4-M20
BK1
BK1
RB2
RB2
RB3
RB3
RB4
RB4
RB3
BK1
BK1
Note on C2: PROJECT ETC.
Note on BM2: SHEET NO.
Note on BR2: SHEET NO.

## Turbine Hall Steel FS (220615)
TITLE | [8 empty] | SHEET NO. | OF
| AP Building / Turbine Hall | [9 empty] | 2022.06.09
|  | Steel Structure Frame Sketch / (pipe rack 물량 (3 ton) 추가 - IOM-PI-0017) | [8 empty] | 2022.06.14
1. 1st Floor (EL +153.90 m)
Member List
|  |  |  | TC1 | W 250x44.8 (H-267x148x7.62x13)
|  |  |  | TC2 | W 250x67 (H-257x204x8.89x15.7)
|  |  |  | TC3 | W 200x59 (H-210x205x9.14x14.2)
|  |  |  | VBR1 | HSS 101.6x101.6x6.4
2. 2nd Floor (EL +156.90 m)
Member List
|  |  |  | WG1 | W 150x18 (H-153x102x5.84x7.11)
|  |  |  | WG2 | W 200x59 (H-210x205x9.14x14.2)
|  |  |  | VBR1 | HSS 101.6x101.6x6.4
3. 3rd Floor (EL +159.90 m)
Member List
|  |  |  | WG1 | W 150x18 (H-153x102x5.84x7.11)
|  |  |  | WG2 | W 200x59 (H-210x205x9.14x14.2)
|  |  |  | VBR1 | HSS 101.6x101.6x6.4
|  |  |  | TC4 | W 150x18 (H-153x102x5.84x7.11)
4. Roof Plan
Member List
[7 empty] | RG1 | W 150x18 (H-153x102x5.84x7.11)
[7 empty] | RG2 | W 250x 38.5 (H-262x147x6.6x11.2)
[7 empty] | RG3 | W 310x67 (H-307x204x8.51x14.6)
[7 empty] | RB1 | W 150x18 (H-153x102x5.84x7.11)
[7 empty] | RB2 | W 250x38.5 (H-262x147x6.6x11.2)
[7 empty] | RB3 | W 250x44.8 (H-267c148c7.62c13)
[7 empty] | RB4 | C 310x38 (C-305x77.5x9.83x12.7)
[7 empty] | HBR1 | HSS 101.6x76.2x6.4
[7 empty] | HBR2 | HSS 50.6x50.6x4.8
5. Sections
6. Elevations
|  |  | Grid B Elevation |  |  | Grid 4 Elevation
|  |  | Grid C Elevation |  |  | Grid 6 Elevation
4
5
6
15,000
3,000
3,000
3,000
3,000
3,000
3,000
3,000
6,000
B
C
3,000
3,000
3,000
3,000
3,000
15,000
4
5
6
15,000
3,000
3,000
3,000
3,000
3,000
3,000
3,000
6,000
B
C
3,000
3,000
3,000
3,000
3,000
15,000
4
5
6
15,000
3,000
3,000
3,000
3,000
3,000
3,000
3,000
6,000
B
C
3,000
3,000
3,000
3,000
3,000
15,000
4
5
6
15,000
3,000
3,000
3,000
3,000
3,000
3,000
3,000
6,000
B
C
3,000
3,000
3,000
3,000
3,000
15,000
Removable Roof Cover A type
Removable Roof Cover B type
Roof
C-150x75
Lifting Lug
(PL-100x100x12)
C-300x150
4
5
6
15,000
3,000
3,000
3,000
3,000
3,000
3,000
3,000
6,000
C
B
3,000
3,000
3,000
3,000
3,000
15,000
EL+153.90
EL+156.90
EL+159.90
EL+162.90
4
5
6
15,000
3,000
3,000
3,000
3,000
3,000
3,000
3,000
6,000
B
C
3,000
3,000
3,000
3,000
3,000
15,000
EL+153.90
EL+156.90
EL+159.90
EL+162.90
4
5
6
15,000
3,000
3,000
3,000
3,000
3,000
3,000
3,000
6,000
C
B
3,000
3,000
3,000
3,000
3,000
15,000
EL+153.90
EL+156.90
EL+159.90
EL+162.90
EL+161.90
EL+160.65
EL+161.90
1,500
2,000
2,000
Removable Roof Opening (16.0 x 11.0m)
Roof Cover Type A
(2.25 x 11.0m)
4
5
6
15,000
3,000
3,000
3,000
3,000
3,000
3,000
3,000
6,000
C
B
3,000
3,000
3,000
3,000
3,000
15,000
EL+153.90
EL+156.90
EL+159.90
EL+162.90
TC1
TC2
TC1
TC1
TC1
TC1
TC1
TC1
TC1
TC1
TC1
TC1
TC1
TC3
TC3
TC3
TC3
TC1
TC1
VBR1
VBR1
VBR1
VBR1
VBR1
VBR1
VBR1
VBR1
WG1
VBR1
WG1
WG1
WG1
WG1
WG1
WG2
WG2
WG2
WG2
VBR1
WG1
VBR1
VBR1
WG1
WG1
WG1
WG1
WG1
WG1
WG1
VBR1
VBR1
WG1
VBR1
WG1
WG1
WG1
WG1
WG1
WG2
WG2
WG2
WG2
VBR1
WG1
VBR1
VBR1
WG1
WG1
WG1
WG1
WG1
WG1
WG1
WG2
TC4
RG2
RG2
Roof Cover
A type
Roof Cover
A type
Roof Cover
A type
Roof Cover
A type
Roof Cover
B type
Roof Cover
B type
Roof Cover
B type
Roof Cover Type B
(2.25 x 11.0m)
Roof Cover Type A
(2.25 x 11.0m)
RG1
RG1
RG1
RG1
RG1
RB1
RB2
RB1
RB1
RB1
RB1
RG1
RG3
RB2
RB2
RB2
RB2
RG2
RG2
RB2
RB2
RB2
RB2
RB2
RB2
RB2
RB2
RB2
RG1
RG1
RG1
RG1
RG1
RG1
RG1
RB3
RB3
RB3
RB3
RB1
RB1
RB1
RB1
RB1
RB4
RB4
RB4
RB4
RB1
RB1
RB1
RB1
RB1
HBR1 (typ.)
HBR2 (typ.)
RB1
RB1
RB1
RB1
Note on C2: PROJECT ETC.
Note on BM2: SHEET NO.
Note on BR2: SHEET NO.

## Pile to Module
TITLE |  | SHEET NO. | OF
Pile to Module connection concept
2022.11.10
Note on C2: PROJECT ETC.
Note on BM2: SHEET NO.
Note on BR2: SHEET NO.